## Slide 1: Quantification of tumor fluorescence during intraoperative optical cancer imaging
Presenter: Macan Tadayon

## Slide 2: Imaging can be beneficial to Cancer patients
Imaging can help in screening for cancer
Imaging can help in diagnosis/staging
Imaging can help in guiding cancer treatments

## Slide 3: Evaluation Criteria for comparing different Techniques:
The detection of small changes in fluorescence considered as the first important criteria
Sensitivity of signal detection at increasing depths considered as the second important criteria
Practicality of use considered as the third important criteria.

## Slide 4: Common methods of intraoperative optical cancer imaging
Spectroscopy is based on optical fibers.
Luminometry is based on singlet–singlet electronic relaxation.
digital imaging is based on intensified charge-coupled devices

## Slide 5: Materials used to choose the best method

## Slide 6: Residual fluorescent tumor detected in the surgical bed by fluorescence imaging

## Slide 7: Serial dilution concentrations of ICG and SBR vs ICG concentration.

## Slide 8: SBR vs. EC-17 concentrations

## Slide 9: Models used to compare the different techniques
The first model used in the experiment was Vitro Phantom model
The second model used for the comparison was Murine Flank Tumor Model

## Slide 10: Comparison of imaging techniques in vitro

## Slide 11: Quantification of tumor fluorescence in murine models

## Slide 12: Signal Detection as a function of depth

## Slide 13: Imaging modality comparison

## Slide 14: Thank You